SULLIVAN/O’FLYNN LUNULA LASER CLINICAL TRIAL:  STUDY DESIGN

## PURPOSE OF STUDY

The purpose of this clinical study was to demonstrate the efficacy of the Erchonia LUNULA™, manufactured by Erchonia Corporation, for the treatment of onychomycosis of the toenail, when applying the LUNULA™ to the toenail for 12 minutes one time per week for 4 consecutive weeks, for a total of 4 treatment administrations.

STUDY DESIGN

This clinical study was a single site, single group (active procedure only) non-randomized non-blinded design.

STUDY SUBJECTS

- One hundred and nine (109) subjects were enrolled in the study.

- Of the 109 subjects, all had a great toenail with qualifying onychomycosis enrolled and 30 subjects had multiple toenails with qualifying onychomycosis enrolled, resulting in a total of 139 toenails enrolled in the study, as follows:

- Subject age averaged 41.75 years

## CATEGORY OF % BASELINE TOENAIL ONYCHOMYCOSIS INVOLVEMENT

Toenails were further categorized according to the following four categories of % toenail onychomycosis involvement at baseline:

| All Toenails | # (%) All Toenails (n=139) |
| --- | --- |
| 0% - 24% | 11 (8%) |
| 25% - 49% | 33 (24%) |
| 50% - 74% | 41 (29%) |
| 75% - 100% | 54 (39%) |

TREATMENT PROTOCOL

Each study toenail received four 12 minute treatments 7 days apart.

Millimeter (mm) of clear (uninfected) nail bed and per cent (%) of toenail onychomycosis disease involvement were objectively and independently determined using topographical software digital photo-planimetry software and triangulation methodology translated to a clear linear measurement at baseline; at the end of the procedure administration phase, and at 12 weeks, 36 weeks and 48 weeks post procedure administration end.

Table 1: Mean mm clear nail across study             Chart 1: Mean mm clear nail across study

duration                                        		          duration

| Evaluation Phase | mm clear nail |
| --- | --- |
| Baseline | 5.90 |
| Week 4 | 9.63 |
| Week 12 | 11.53 |
| Week 36 | 14.26 |
| Week 48 | 15.09 |

Table 2: Mean % onychomycosis disease               Chart 2: Mean % onychomycosis disease

involvement across study duration                            involvement across study duration

| Evaluation Phase | % Disease |
| --- | --- |
| Baseline | 63.21 |
| Week 4 | 37.72 |
| Week 12 | 25.58 |
| Week 36 | 8.06 |
| Week 48 | 2.49 |

Table 3: Toenail Onychomycosis Disease Involvement Across Study Duration: All Toenails

| n=139 | Baseline | Procedure End | Week 12 | Week 36 | Week 48 |
| --- | --- | --- | --- | --- | --- |
| Mean | 63.21% | 37.72% | 25.58% | 8.06% | 2.49% |
| Standard Deviation | 23.88 | 23.88 | 21.76 | 13.92 | 9.72 |

- It can be seen from Table 3 above that mean % toenail onychomycosis disease involvement decreased progressively and substantially across each successive evaluation point to a negligible remaining level.

ADVERSE EVENTS: No adverse event was reported for any subject throughout study duration.

CONCLUSION: The Erchonia LUNULA™ is an effective tool for treating toenail onychomycosis and preventing re-infection, significantly and progressively increasing mm of clear nail and decreasing % onychomycosis disease involvement over a 48 week period following completion of the 3-week procedure administration phase.